## Slide 1: FOXSI-2 flight summary
A compilation of quicklook products and ongoing analysis
Last updated April 15, 2015

## Slide 2: Full time profile; 5 Si det’s summed.

## Slide 5: RHESSI
Microflares
FOXSI-2 flight

## Slide 6
RHESSI
Microflare in AR12230
Microflare in AR12234

## Slide 7: FOXSI-2 Images
All 5 Si detectors
Last image shows all Si added together
Log scale!!!
Times are 36 sec off. (These were produced before the timing offset bug was fixed.)

## Slide 8: Target 1, no adjustments
Flare in progress
Times are 36 sec off

## Slide 9: Target 1 after first adjustment
Times are 36 sec off

## Slide 10: Target 1 after second adjustment
Maybe a 3rd AR?
Times are 36 sec off

## Slide 11: Target 1, one last adjustment
Times are 36 sec off

## Slide 12: Target 2
AR at the limb
Maybe one more AR?
Times are 36 sec off

## Slide 13: Target 3, no adjustment
Not clear if we see the NuSTAR AR or not…
Times are 36 sec off

## Slide 14: Target 3 after first adjustment
Times are 36 sec off

## Slide 15: Target 3 after second adjustment
Times are 36 sec off

## Slide 16: Target 4: Quiet Sun
This is probably single bounce.
Times are 36 sec off

## Slide 17: Quiet Sun with shutter in
D4, D5 have no good counts
D6 has no shutter
Times are 36 sec off

## Slide 18: Target 5 with shutter in
Now this guy’s flaring.
Times are 36 sec off

## Slide 19: More recent imaging work…
GOES 1-8A
RHESSI 4-8 keV
Microflares
FOXSI lightcurves
AR 12230
AR 12234
Notes: Update figures and note energy range. Add vertical bars showing target times.

## Slide 20: AR 12230 microflare – FOXSI Si detectors
Smoothed over 2 pix

## Slide 21: Overlays on AIA

## Slide 22: Imaging spectroscopy
Pink: 4-5.5 keV
Black: 6-9 keV

## Slide 23: Photon spectra
(very preliminary!)
No fine updates to calibration yet.

## Slide 24: Spectra, each target (only intervals after pointing adjustments)
Detector 6 has no attenuator
Attenuator is in!

## Slide 25: Incident photon spectrum
Not yet accurate – some detector effects have not yet been included!

## Slide 26: Comparison with VLA, Target 1